Raw LAS data

Net radiation (Rn) is measured with the NR Lite instrument of Kipp & Zonen

(http://www.kippzonen.com/pages/707/3/NRLITE)

The locations and coordinates of the four stations are given below:

Table 3: Location and configuration of the NR-lite instruments

| Location | Latitude (decimal º) | Longitude (decimal º) | Elevation (m) | Height of NR Lite above surface (m) |
| --- | --- | --- | --- | --- |
| Jingchuan | 35.33 | 107.35 | 1039 | ? |
| Maqin | 34.46 | 100.23 | 3730 | 3.9 |
| Xinghai | 35.58 | 99.98 | 3310 | 2.95 |
| Tangke | 33.38 | 102.45 | 3434 | 3.7 |

Measurement interval is 10 minutes. Please note that the data series are not always continuous. During the night power supply sometimes failed at the LAS stations on the plateau. Also other problems were encountered which caused longer interruptions of measurements.

Missing data:

-------------

Jingchuan :  no data from 01/07/2006 until 12/07/2006

no data from 16/11/2006 until 30/11/2006

Tangke :  measurement period unclear

no wind speed data during entire year

demodulated carrier signal exceeds treshold from 16/06/2006-  31/07/2006 -> scintillation measurements not reliable = no sens heat flux calc.

Xinghai : power problems; no data during night except month September 2006

no temperature measurements of upper temperature sensor   29/03/2006 -> 15/04/2006

You can refer to the ORET project "Satellite Based Water Monitoring & Flow-Forecasting in the Yellow River Basin" for this data.